## Sheet1
Cooling System Performance Score Report
Equipment Information
Cooling System Performance Score
Manufacturer
Model Number
Serial Number
Outdoor DB Temperature
Equip. Entering WB
Mfg. Spec. Cool. Capacity
Supply Register Air Enthalpy Btu/lb. |  |  |  |  | Return Grille Air Enthalpy Btu/lb.
Register Number/Name |  |  |  | Enthalpy | Grille Number/Name |  |  |  | Enthalpy
Total supply register enthalpy |  |  |  |  | Total return grille enthalpy
Divided by number of readings |  |  |  |  | Divided by number of readings
Average supply register enthalpy |  |  |  |  | Average return grille enthalpy
Occupied Space Enthalpy Change
| Average return grille enthalpy | [8 empty] | Btu/lb.
| Minus average supply register enthalpy | [8 empty] | Btu/lb.
| Equals the occupied space enthalpy change | [8 empty] | Btu/lb.
Supply Register Airflow
| Register Number | Area Served | Measured cfm |  | Register Number |  | Area Served | Measured cfm
| (Continued) |  |  |  | Total Supply Register Airflow
System Delivered Total (Cooling) Btu/hr.
| Occupied space enthalpy change | [8 empty] | Btu/lb.
| Times the total supply register airflow | [8 empty] | Cfm
| Times appropriate Btu/hr multiplier | [8 empty] | Btu Multiplier
| Equals the system delivered total (cooling) Btu/hr | [8 empty] | Btu/hr.
Cooling System Performance Score
| System delivered total (cooling) Btu/hr | [8 empty] | Btu/hr.
| Divided by Manufacturers Specified Cooling Capacity | [8 empty] | Btu/hr.
| Cooling System Performance Score | [8 empty] | %
COMMENTS:
©2018 NCI, Inc.
Date of Test
Tested By
Customer Name
National Comfort Institute
P.O. Box 147 Avon Lake, Ohio 44012
Phone 800-633-7058 NationalComfortInstitute.com
Address
System Name